Requirements

Initial Conditions Requirements

IR-01 The initial temperature should be set on INITIAL TEMPERATURE

IR-02 The initial level should be set on INITIAL LEVEL

Recipe Requirements

RR-01 Only one product can be selected in the same time

RR-02 If recipe is selected while one is already executing, alarm should indicate conflict

RR-03 Manual controls are ignored during automatic production

RR-04 After Recipe is finished , system should return to initial conditions

Control requirements

CR-01 Next recipe and manual control should be available after previous task complete

Alarms

Alarm :

When max temperature sensor is triggered, alarm should activate

Operator response :

Check working conditions and acknowledge the alarm

Alarm :

When max level sensor is triggered, alarm should activate

Operator response :

Check working conditions and acknowledge the alarm

Controller architecture

Two recipes function block control sequence of actions.

First Recipe block

Transition condition (CurrentLevel>=X1-delta AND CurrentLevel<=X1+delta) AND (CurrentTemp>=Y1-delta AND CurrentTemp<=Y1+delta) checks if current level is near target value in range of delta

Second  Recipe block

Alarm implementation